## Sheet1
Curve | G_Measured_Wm2 | G_Effective_Wm2 | Temperature_C | Reference_Isc_A | Measured_Isc_A | SDM_Isc_A | Measured_Isc_Error_Pct | SDM_Isc_Error_vs_Ref_Pct | SDM_Isc_Error_vs_Measured_Pct | Reference_Voc_V | Measured_Voc_V | SDM_Voc_V | Measured_Voc_Error_Pct | SDM_Voc_Error_vs_Ref_Pct | SDM_Voc_Error_vs_Measured_Pct | Reference_VocCell_V | Measured_Vmp_V | SDM_Vmp_V | SDM_Vmp_Error_vs_Measured_Pct | Measured_Imp_A | SDM_Imp_A | SDM_Imp_Error_vs_Measured_Pct | Measured_Pmp_W | SDM_Pmp_W | SDM_Pmp_Error_vs_Measured_Pct | Health_FF | SDM_FF | SDM_FF_Residual | Curve_RMSE_A | Curve_NRMSE_Pct | Curve_Max_Error_A | Curve_Max_Error_Pct | Health_Status | DigitalTwin_Status
1 | 384.2 | 158.9435 | 31.9 | 0.75892 | 0.91051 | 0.75886 | 19.9744 | -0.0081888 | -16.6557 | 19.5683 | 22.1845 | 21.3877 | 13.3697 | 9.2975 | -3.592 | 0.54356 | 18.454 | 18.1997 | -1.3779 | 0.87402 | 0.71039 | -18.7224 | 16.1292 | 12.9288 | -19.8423 | 0.79851 | 0.79659 | -0.0019167 | 0.14685 | 16.1286 | 0.25297 | 27.7835 | PASS | FAIL
2 | 392.1 | 162.2118 | 33.9 | 0.77522 | 0.95125 | 0.77516 | 22.7065 | -0.0081888 | -18.5114 | 19.4919 | 21.8211 | 21.2249 | 11.9499 | 8.8909 | -2.7325 | 0.54144 | 18.454 | 18.0466 | -2.2076 | 0.90912 | 0.72631 | -20.1086 | 16.7769 | 13.1074 | -21.8722 | 0.80824 | 0.79667 | -0.011565 | 0.18304 | 19.2426 | 0.33872 | 35.6078 | PASS | FAIL
3 | 573.9 | 237.4224 | 35.1 | 1.1353 | 1.1544 | 1.1352 | 1.6879 | -0.0081888 | -1.6679 | 19.7988 | 21.9464 | 21.465 | 10.8474 | 8.4162 | -2.1933 | 0.54997 | 18.8293 | 18.289 | -2.8694 | 1.1029 | 1.0676 | -3.2026 | 20.767 | 19.5251 | -5.9801 | 0.81968 | 0.80131 | -0.01837 | 0.082857 | 7.1773 | 0.35615 | 30.8507 | PASS | FAIL
4 | 861.9 | 356.568 | 30.9 | 1.7018 | 1.6221 | 1.7016 | -4.6824 | -0.0081888 | 4.9039 | 20.3783 | 22.3759 | 22.1826 | 9.8025 | 8.8538 | -0.86404 | 0.56606 | 19.458 | 18.9102 | -2.8154 | 1.5359 | 1.6081 | 4.6943 | 29.8865 | 30.4085 | 1.7467 | 0.82342 | 0.8056 | -0.017821 | 0.12388 | 7.6374 | 0.22048 | 13.5922 | PASS | FAIL