## baseline 11h30
Resistance | Voltage | Current
2 | 8.23 | 4.14
3 | 12.45 | 4.13
4 | 16.14 | 4.03
5 | 18.1 | 3.62
6 | 19.09 | 3.18
7 | 19.7 | 2.82
8 | 20.1 | 2.51
9 | 20.37 | 2.26
10 | 20.64 | 2.07
11 | 20.83 | 1.9
12 | 21 | 1.75
13 | 21.09 | 1.62
14 | 21.19 | 1.52
16 | 21.37 | 1.34
18 | 21.53 | 1.2
20 | 21.67 | 1.08
24 | 21.82 | 0.91
28 | 21.94 | 0.78
33 | 21.98 | 0.67
40 | 22.03 | 0.55
45 | 22.12 | 0.49
50 | 22.2 | 0.44
55 | 22.23 | 0.4
60 | 22.32 | 0.37
70 | 22.37 | 0.32
100 | 22.37 | 0.22
110 | 22.36 | 0.2
160 | 22.31 | 0.14
200 | 22.46 | 0.11
300 | 22.39 | 0.07
400 | 22.51 | 0.06
open | 22.7 | 0

## baseline 12h00
Resistance | Voltage | Current
2 | 9.24 | 4.59
2.5 | 11.52 | 4.58
3 | 13.8 | 4.58
3.5 | 15.6 | 4.45
4 | 16.92 | 4.22
4.5 | 17.79 | 3.95
5 | 18.41 | 3.68
5.5 | 18.86 | 3.43
6 | 19.2 | 3.2
6.5 | 19.48 | 3
7 | 19.72 | 2.82
7.5 | 20.09 | 2.51
8.5 | 20.24 | 2.38
9 | 20.39 | 2.27
9.5 | 20.51 | 2.16
10 | 20.62 | 2.06
11 | 20.8 | 1.89
12 | 20.95 | 1.75
13 | 21.07 | 1.62
20 | 21.57 | 1.08
30 | 21.87 | 0.78
40 | 22.01 | 0.55
50 | 22.1 | 0.44
60 | 22.17 | 0.37
70 | 22.2 | 0.32
100 | 22.28 | 0.22
200 | 22.38 | 0.11
300 | 22.39 | 0.07
400 | 22.4 | 0.06
open | 22.45 | 0
|  |  | 20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
|  |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
|  |  | Top | 47.6 | 49 | 46.1 | Average | 47.1111 | Top | 854.8 | 862.7 | 807.2 | Average | 848.3778
|  |  | Middle | 48.2 | 49.5 | 47 | Minimum | 45 | Middle | 868.7 | 853 | 814.7 | Minimum | 807.2
|  |  | Bottom | 45.6 | 45 | 46 | Maximum | 49.5 | Bottom | 872.6 | 838.3 | 863.4 | Maximum | 872.6
[7 empty] | Range | 4.5 |  |  |  |  | Range | 65.4
|  |  | ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5696 |  |  |  |  | Uniform(%) | 3.8933
|  |  | Lamp Distance (cm): |  | outside
Fan Condition:
Window Condition:
|  |  | Test Purpose / Notes: |  | baseline

## shading col1row1 with cardboard
Resistance | Voltage | Current
2 | 0.24 | 0.11
2.5 | 0.3 | 0.11
3 | 0.36 | 0.11
4 | 0.47 | 0.11
5 | 0.53 | 0.11
6 | 0.7 | 0.11
7 | 0.81 | 0.11
8 | 0.92 | 0.11
9 | 1.03 | 0.11
10 | 1.14 | 0.11
11 | 1.25 | 0.11
12 | 1.35 | 0.11
13 | 1.47 | 0.11
20 | 2.19 | 0.11
30 | 3.19 | 0.1
40 | 4.14 | 0.1
50 | 5.04 | 0.1
60 | 5.93 | 0.1
70 | 6.79 | 0.1
100 | 9.21 | 0.09
120 | 10.77 | 0.09
150 | 12.82 | 0.09
180 | 14.67 | 0.08
200 | 15.61 | 0.08
250 | 21.32 | 0.08
300 | 22 | 0.07
400 | 22.08 | 0.05
open | 22.2 | 0
|  |  | 20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
|  |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right
|  |  | Top |  |  |  | Average | #DIV/0! | Top
|  |  | Middle |  |  |  | Minimum | 0 | Middle
|  |  | Bottom |  |  |  | Maximum | 0 | Bottom
[7 empty] | Range | 0
|  |  | ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0!
|  |  | Lamp Distance (cm): |  | outside
Fan Condition:
Window Condition:
|  |  | Test Purpose / Notes: |  | baseline

## shading col1row1 with paper
Resistance | Voltage | Current
2 | 2.58 | 1.28
2.5 | 3.22 | 1.28
3 | 3.85 | 1.27
4 | 5.08 | 1.27
5 | 6.31 | 1.26
6 | 7.54 | 1.25
7 | 8.74 | 1.25
8 | 9.97 | 1.24
9 | 11.15 | 1.24
10 | 12.25 | 1.24
11 | 13.53 | 1.24
12 | 15.73 | 1.23
13 | 15.91 | 1.23
14 | 17.19 | 1.23
15 | 18.58 | 1.24
16 | 20.06 | 1.25
17 | 21.02 | 1.24
18 | 21.14 | 1.18
19 | 21.25 | 1.12
20 | 21.2 | 1.07
25 | 21.5 | 0.86
30 | 21.63 | 0.72
40 | 21.8 | 0.55
50 | 21.89 | 0.44
60 | 21.94 | 0.37
70 | 22 | 0.31
100 | 22.08 | 0.22
120 | 22.12 | 0.18
150 | 22.15 | 0.15
180 | 22.17 | 0.12
200 | 22.18 | 0.11
250 | 22.19 | 0.09
300 | 22.2 | 0.07
400 | 22.21 | 0.06
open | 22.26 | 0

## shading col2row1 with paper
Resistance | Voltage | Current
2 | 2.51 | 1.24
2.5 | 3.11 | 1.24
3 | 3.72 | 1.23
4 | 4.91 | 1.22
5 | 6.08 | 1.22
6 | 7.31 | 1.22
7 | 8.46 | 1.21
8 | 9.63 | 1.2
9 | 10.92 | 1.2
10 | 11.98 | 1.2
11 | 13.13 | 1.2
12 | 14.29 | 1.19
13 | 15.44 | 1.19
14 | 16.59 | 1.19
15 | 17.85 | 1.19
16 | 19.19 | 1.2
17 | 20.49 | 1.21
18 | 21.09 | 1.17
19 | 21.19 | 1.12
20 | 21.26 | 1.07
25 | 21.49 | 0.86
30 | 21.62 | 0.72
40 | 21.8 | 0.55
50 | 21.89 | 0.44
60 | 21.95 | 0.37
70 | 21.99 | 0.31
100 | 22.06 | 0.22
120 | 22.09 | 0.18
150 | 22.12 | 0.15
180 | 22.14 | 0.12
200 | 22.15 | 0.11
250 | 22.16 | 0.09
300 | 22.18 | 0.07
400 | 22.18 | 0.06
open | 22.23 | 0

## shading col3row1 with paper
Resistance | Voltage | Current
2 | 2.76 | 1.36
2.5 | 3.43 | 1.36
3 | 4.1 | 1.36
4 | 5.4 | 1.35
5 | 6.71 | 1.34
6 | 8.05 | 1.34
7 | 9.33 | 1.33
8 | 10.6 | 1.33
9 | 11.89 | 1.32
10 | 13.12 | 1.31
11 | 14.34 | 1.31
12 | 15.59 | 1.3
13 | 16.83 | 1.3
14 | 18.24 | 1.31
15 | 19.72 | 1.32
16 | 20.84 | 1.31
17 | 21 | 1.24
18 | 21.03 | 1.17
19 | 21.14 | 1.11
20 | 21.2 | 1.06
25 | 21.4 | 0.86
30 | 21.53 | 0.72
40 | 21.67 | 0.54
50 | 21.77 | 0.44
60 | 21.84 | 0.36
70 | 21.88 | 0.31
100 | 21.96 | 0.22
120 | 22 | 0.18
150 | 22.03 | 0.15
180 | 22.05 | 0.12
200 | 22.05 | 0.11
250 | 22.08 | 0.09
300 | 22.08 | 0.07
400 | 22.12 | 0.06
open | 22.14 | 0

## baseline 12h50
Resistance | Voltage | Current
2 | 10.29 | 5.11
2.5 | 12.83 | 5.11
3 | 14.89 | 4.95
3.5 | 16.36 | 4.67
4 | 17.31 | 4.32
4.5 | 17.97 | 3.99
5 | 18.45 | 3.69
5.5 | 18.82 | 3.42
6 | 19.13 | 3.19
6.5 | 19.36 | 2.98
7 | 19.31 | 2.97
8 | 19.85 | 2.548
9 | 20.13 | 2.24
10 | 20.35 | 2.04
11 | 20.5 | 1.87
12 | 20.66 | 1.72
13 | 20.78 | 1.68
14 | 20.88 | 1.49
15 | 20.96 | 1.4
16 | 21.03 | 1.32
17 | 21.1 | 1.24
18 | 21.17 | 1.18
19 | 21.22 | 1.12
20 | 21.28 | 1.07
30 | 21.58 | 0.73
40 | 21.72 | 0.54
50 | 21.81 | 0.44
60 | 21.88 | 0.36
70 | 21.92 | 0.31
100 | 22 | 0.22
200 | 22.09 | 0.11
300 | 22.11 | 0.07
400 | 22.13 | 0.06
open | 22.17 | 0
|  |  | 20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
|  |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
|  |  | Top | 49 | 48.3 | 48.5 | Average | 48.7556 | Top | 944.9 | 948 | 971.8 | Average | 981.8667
|  |  | Middle | 48.8 | 52 | 50 | Minimum | 46.7 | Middle | 943.6 | 1015 | 990.5 | Minimum | 943.6
|  |  | Bottom | 48 | 46.7 | 47.5 | Maximum | 52 | Bottom | 1040 | 966 | 1017 | Maximum | 1040
[7 empty] | Range | 5.3 |  |  |  |  | Range | 96.4
|  |  | ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5322 |  |  |  |  | Uniform(%) | 4.8599
|  |  | Lamp Distance (cm): |  | outside
Fan Condition:
Window Condition:
|  |  | Test Purpose / Notes: |  | baseline

## bypass diode test
Panel sunlight-checking which diodes are health
| red/black | black/red
diode A | 0.457 | OL
diode b | 0.457 | OL
didoe c | 0.454 | OL
didoe d | 0.457 | OL
Shading Voltage Mapping Test
|  | left-center | centre-right | left-right
shading left column |  | floating | floating | 20.55V
shading right column |  | floating | floating | 21.42V
Panel under illumination with no shading
left-center | floating
center-right | floating
left-right | 22.32V
Panel under illuination with no shading continuity test
left-center | no beep
center-right | no beep
left-right | beep

## shading 50% col1row1 with paper
Resistance | Voltage | Current
2 | 4.91 | 2.44
2.5 | 6.1 | 2.43
3 | 7.3 | 2.42
4 | 9.65 | 2.4
5 | 11.96 | 2.39
6 | 14.3 | 2.38
7 | 16.61 | 2.37
8 | 19.16 | 2.39
9 | 20.28 | 2.25
10 | 20.53 | 2.06
11 | 20.75 | 1.89
12 | 20.93 | 1.75
13 | 21.05 | 1.62
14 | 21.18 | 1.51
15 | 21.27 | 1.42
16 | 21.37 | 1.34
17 | 21.46 | 1.26
18 | 21.51 | 1.2
19 | 21.58 | 1.14
20 | 21.63 | 1.08
25 | 21.82 | 0.87
30 | 21.95 | 0.73
40 | 22.11 | 0.55
50 | 22.2 | 0.44
60 | 22.26 | 0.37
70 | 22.29 | 0.32
100 | 22.37 | 0.22
120 | 22.4 | 0.19
150 | 22.43 | 0.15
180 | 22.44 | 0.12
200 | 22.44 | 0.11
250 | 22.47 | 0.09
300 | 22.48 | 0.07
400 | 22.49 | 0.06
open | 22.52 | 0

## baseline 16h00
Resistance | Voltage | Current
2 | 8.54 | 4.24
2.5 | 10.61 | 4.21
3 | 12.78 | 4.22
3.5 | 14.71 | 4.19
4 | 16.28 | 4.06
4.5 | 17.4 | 3.86
5 | 18.17 | 3.63
5.5 | 18.72 | 3.4
6 | 19.14 | 3.19
7 | 19.74 | 2.82
8 | 20.14 | 2.52 | #VALUE!
9 | 20.45 | 2.27
10 | 20.68 | 2.07
11 | 20.89 | 1.9
12 | 21.04 | 1.76
13 | 21.17 | 1.63
14 | 21.28 | 1.52
15 | 21.36 | 1.43
16 | 21.45 | 1.34
17 | 21.52 | 1.27
18 | 21.6 | 1.2
19 | 21.68 | 1.14
20 | 21.73 | 1.09
30 | 22.04 | 0.74
40 | 22.19 | 0.56
50 | 22.28 | 0.45
60 | 22.34 | 0.37
70 | 22.39 | 0.32
100 | 22.547 | 0.22
200 | 22.52 | 0.11
300 | 22.58 | 0.07
400 | 22.6 | 0.06
open | 22.64 | 0
|  |  |  | 20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
|  |  |  | Position | Left | Centre | 37 | Metric |  | Position | Left | Centre | Right | Metric
|  |  |  | Top | 36 | 36.4 | 36.8 | Average | 48.8 | Top | 857.7 | 870.9 | 863.4 | Average | 981.9
|  |  |  | Middle | 35.6 | 37.2 | 37.8 | Minimum | 46.7 | Middle | 880.6 | 870.2 | 863.4 | Minimum | 943.6
|  |  |  | Bottom | 34.5 | 36.3 | 36.6 | Maximum | 52 | Bottom | 874 | 882.5 | 868.7 | Maximum | 1040
[8 empty] | Range | 5.3 |  |  |  |  | Range | 96.4
|  |  |  | ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5 |  |  |  |  | Uniform(%) | 4.9
|  |  |  | Lamp Distance (cm): |  | outside
Fan Condition:
Window Condition:
|  |  |  | Test Purpose / Notes: |  | baseline