## baseline 16h00
Resistance | Voltage | Current
2 | 8.54 | 4.24
2.5 | 10.61 | 4.21
3 | 12.78 | 4.22
3.5 | 14.71 | 4.19
4 | 16.28 | 4.06
4.5 | 17.4 | 3.86
5 | 18.17 | 3.63
5.5 | 18.72 | 3.4
6 | 19.14 | 3.19
7 | 19.74 | 2.82
8 | 20.14 | 2.52 | #VALUE!
9 | 20.45 | 2.27
10 | 20.68 | 2.07
11 | 20.89 | 1.9
12 | 21.04 | 1.76
13 | 21.17 | 1.63
14 | 21.28 | 1.52
15 | 21.36 | 1.43
16 | 21.45 | 1.34
17 | 21.52 | 1.27
18 | 21.6 | 1.2
19 | 21.68 | 1.14
20 | 21.73 | 1.09
30 | 22.04 | 0.74
40 | 22.19 | 0.56
50 | 22.28 | 0.45
60 | 22.34 | 0.37
70 | 22.39 | 0.32
100 | 22.547 | 0.22
200 | 22.52 | 0.11
300 | 22.58 | 0.07
400 | 22.6 | 0.06
open | 22.64 | 0
|  |  |  | 20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
|  |  |  | Position | Left | Centre | 37 | Metric |  | Position | Left | Centre | Right | Metric
|  |  |  | Top | 36 | 36.4 | 36.8 | Average | 48.8 | Top | 857.7 | 870.9 | 863.4 | Average | 981.9
|  |  |  | Middle | 35.6 | 37.2 | 37.8 | Minimum | 46.7 | Middle | 880.6 | 870.2 | 863.4 | Minimum | 943.6
|  |  |  | Bottom | 34.5 | 36.3 | 36.6 | Maximum | 52 | Bottom | 874 | 882.5 | 868.7 | Maximum | 1040
[8 empty] | Range | 5.3 |  |  |  |  | Range | 96.4
|  |  |  | ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5 |  |  |  |  | Uniform(%) | 4.9
|  |  |  | Lamp Distance (cm): |  | outside
Fan Condition:
Window Condition:
|  |  |  | Test Purpose / Notes: |  | baseline