## baseline 12h00
Resistance | Voltage | Current
2 | 9.24 | 4.59
2.5 | 11.52 | 4.58
3 | 13.8 | 4.58
3.5 | 15.6 | 4.45
4 | 16.92 | 4.22
4.5 | 17.79 | 3.95
5 | 18.41 | 3.68
5.5 | 18.86 | 3.43
6 | 19.2 | 3.2
6.5 | 19.48 | 3
7 | 19.72 | 2.82
7.5 | 20.09 | 2.51
8.5 | 20.24 | 2.38
9 | 20.39 | 2.27
9.5 | 20.51 | 2.16
10 | 20.62 | 2.06
11 | 20.8 | 1.89
12 | 20.95 | 1.75
13 | 21.07 | 1.62
20 | 21.57 | 1.08
30 | 21.87 | 0.78
40 | 22.01 | 0.55
50 | 22.1 | 0.44
60 | 22.17 | 0.37
70 | 22.2 | 0.32
100 | 22.28 | 0.22
200 | 22.38 | 0.11
300 | 22.39 | 0.07
400 | 22.4 | 0.06
open | 22.45 | 0
|  |  | 20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
|  |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
|  |  | Top | 47.6 | 49 | 46.1 | Average | 47.1111 | Top | 854.8 | 862.7 | 807.2 | Average | 848.3778
|  |  | Middle | 48.2 | 49.5 | 47 | Minimum | 45 | Middle | 868.7 | 853 | 814.7 | Minimum | 807.2
|  |  | Bottom | 45.6 | 45 | 46 | Maximum | 49.5 | Bottom | 872.6 | 838.3 | 863.4 | Maximum | 872.6
[7 empty] | Range | 4.5 |  |  |  |  | Range | 65.4
|  |  | ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5696 |  |  |  |  | Uniform(%) | 3.8933
|  |  | Lamp Distance (cm): |  | outside
Fan Condition:
Window Condition:
|  |  | Test Purpose / Notes: |  | baseline