## Lab Test Data Grids
PV LAB EXPERIMENTAL DATA ENTRY TEMPLATE (DDM PARAMETER EXTRACTION)Day3-21August 2026 | [9 empty] | excellent ST < 1.5 , acceptable 1.5<ST<3, poor ST>3
Basic uniformity <10
20260819-E01 – Temperaturw Grid (°C) | [5 empty] | 20260819-E01 – Irradiance Grid (W/m²) | [6 empty] | 20260819-E01 – Temperature Grid After sweep (°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right |  | Metric
Top | 29.6 | 30.4 | 30.5 | Average | 31.8889 | Top | 362 | 383 | 345 | Average | 384.2222 |  | Top | 33.7 | 33.3 | 33 |  | Average | 34.6556
Middle | 31.4 | 32.2 | 32.1 | Minimum | 29.6 | Middle | 420 | 427 | 396 | Minimum | 345 |  | Middle | 34 | 33.7 | 34.4 |  | Minimum | 33
Bottom | 33.4 | 34.4 | 33 | Maximum | 34.4 | Bottom | 377 | 391 | 357 | Maximum | 427 |  | Bottom | 36.4 | 36.7 | 36.7 |  | Maximum | 36.7
|  |  |  | Range | 4.8 |  |  |  |  | Range | 82 | [6 empty] | Range | 3.7
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5648 |  |  |  |  | Uniform(%) | 10.6218 | [6 empty] | Std | 1.5125
Lamp Distance (cm): |  | 90 cm
Fan Condition: |  | on
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | low irradiance constant temperature(AIM g=400, T= 25 )
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right |  | Metric
Top | 31.3 | 31.3 | 31.9 | Average | 33.8778 | Top | 374 | 393 | 355 | Average | 392.1111 | Top | 35.3 | 35.2 | 34.8 |  | Average | 36.7444
Middle | 33.4 | 35.4 | 33.9 | Minimum | 31.3 | Middle | 416 | 445 | 396 | Minimum | 355 | Middle | 35.9 | 37.2 | 36.2 |  | Minimum | 34.8
Bottom | 35.6 | 36.6 | 35.5 | Maximum | 36.6 | Bottom | 378 | 402 | 370 | Maximum | 445 | Bottom | 38.1 | 39.5 | 38.5 |  | Maximum | 39.5
|  |  |  | Range | 5.3 |  |  |  |  | Range | 90 | [5 empty] | Range | 4.7
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 2.0235 |  |  |  |  | Uniform(%) | 11.25 | [5 empty] | Std | 1.6576
Lamp Distance (cm): |  | 90 cm
Fan Condition: |  | ON
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant temperature
20260819-E03 – Temperature Grid (°C) | [5 empty] | 20260819-E03 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right |  | Metric
Top | 28.1 | 28.6 | 28.5 | Average | 30.8889 | Top | 824 | 910 | 821 | Average | 861.8889 | Top | 36.6 | 36.3 | 36 |  | Average | 38
Middle | 30.5 | 31.4 | 31 | Minimum | 28.1 | Middle | 870 | 990 | 823 | Minimum | 821 | Middle | 38.3 | 38.4 | 37.5 |  | Minimum | 36
Bottom | 33.2 | 33.5 | 33.2 | Maximum | 33.5 | Bottom | 822 | 822 | 875 | Maximum | 990 | Bottom | 39.7 | 41.2 |  |  | Maximum | 41.2
|  |  |  | Range | 5.4 |  |  |  |  | Range | 169 | [5 empty] | Range | 5.2
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 2.1404 |  |  |  |  | Uniform(%) | 9.3319 | [5 empty] | Std | 1.792
Lamp Distance (cm): |  | 57 cm
Fan Condition: |  | ON (High Speed - 3)
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant temperature
20260819-E03 – Temperature Grid (°C) | [5 empty] | 20260819-E03 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right |  | Metric
Top | 31.5 | 32.2 | 32 | Average | 35.0778 | Top | 520 | 550 | 510 | Average | 573.8889 | Top | 35.3 | 35.2 | 34.8 |  | Average | 36.7444
Middle | 36.8 | 36.7 | 35.4 | Minimum | 31.5 | Middle | 610 | 640 | 590 | Minimum | 510 | Middle | 35.9 | 37.2 | 36.2 |  | Minimum | 34.8
Bottom | 35.1 | 37.8 | 38.2 | Maximum | 38.2 | Bottom | 580 | 605 | 560 | Maximum | 640 | Bottom | 38.1 | 39.5 | 38.5 |  | Maximum | 39.5
|  |  |  | Range | 6.7 |  |  |  |  | Range | 130 | [5 empty] | Range | 4.7
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 2.584 |  |  |  |  | Uniform(%) | 11.3043 | [5 empty] | Std | 1.6576
Lamp Distance (cm): |  | 75 cm
Fan Condition: |  | ON (High Speed - 3)
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant temperautre
20260819-E03 – Temperature Grid (°C) | [5 empty] | 20260819-E03 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right |  | Metric
Top | 32 | 28.9 | 28.8 | Average | 31.3444 | Top | 211 | 235 | 214 | Average | 230.3333 | Top | 32.6 | 30 | 29.7 |  | Average | 31.9111
Middle | 30.5 | 30.8 | 30.5 | Minimum | 28.8 | Middle | 240 | 255 | 240 | Minimum | 211 | Middle | 30.8 | 32.2 | 31 |  | Minimum | 29.7
Bottom | 33.1 | 34 | 33.5 | Maximum | 34 | Bottom | 228 | 235 | 215 | Maximum | 255 | Bottom | 33.4 | 34 | 33.5 |  | Maximum | 34
|  |  |  | Range | 5.2 |  |  |  |  | Range | 44 | [5 empty] | Range | 4.3
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.9164 |  |  |  |  | Uniform(%) | 9.4421 | [5 empty] | Std | 1.5917
Lamp Distance (cm): |  | 80 cm
Fan Condition: |  | ON (High Speed - 3)
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant irradiance
20260819-E03 – Temperature Grid (°C) | [5 empty] | 20260819-E03 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right |  | Metric
Top | 30.1 | 30.2 | 29.9 | Average | 31.9 | Top | 206 | 225 | 206 | Average | 223.8889 | Top | 31.3 | 30.2 | 29.9 |  | Average | 31.8222
Middle | 31.6 | 31.1 | 32 | Minimum | 29.9 | Middle | 230 | 250 | 227 | Minimum | 206 | Middle | 31.1 | 30.9 | 32.1 |  | Minimum | 29.9
Bottom | 34 | 34.4 | 33.8 | Maximum | 34.4 | Bottom | 225 | 235 | 211 | Maximum | 250 | Bottom | 33.5 | 33.8 | 33.6 |  | Maximum | 33.8
|  |  |  | Range | 4.5 |  |  |  |  | Range | 44 | [5 empty] | Range | 3.9
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.7727 |  |  |  |  | Uniform(%) | 9.6491 | [5 empty] | Std | 1.4973
Lamp Distance (cm): |  | 80 cm
Fan Condition: |  | ON (High Speed - 3)
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant irradiance
20260819-E03 – Temperature Grid (°C) | [5 empty] | 20260819-E03 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right |  | Metric
Top | 37.7 | 37 | 36 | Average | 38.2111 | Top | 206 | 220 | 200 | Average | 220.2222 | Top | 39 | 38.6 | 36.9 |  | Average | 39.2667
Middle | 39.3 | 38.5 | 38.1 | Minimum | 36 | Middle | 238 | 255 | 225 | Minimum | 200 | Middle | 41 | 40.8 | 39.5 |  | Minimum | 36.9
Bottom | 39.1 | 39.6 | 38.6 | Maximum | 39.6 | Bottom | 217 | 217 | 204 | Maximum | 255 | Bottom | 39.6 | 39.6 | 38.4 |  | Maximum | 41
|  |  |  | Range | 3.6 |  |  |  |  | Range | 55 | [5 empty] | Range | 4.1
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.1602 |  |  |  |  | Uniform(%) | 12.0879 | [5 empty] | Std | 1.25
Lamp Distance (cm): |  | 80 cm
Fan Condition: |  | OFF
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant irradiance

## Master Raw Data Log
MASTER EXPERIMENTAL LOG & MEASURED DATA (FOR CLSHADE / MATLAB IMPORT)
Run ID | Date | Lamp Distance (cm) | Fan Speed | Window Status | Avg Temp (°C) | Temp Range (°C) | Avg Irradiance (W/m²) | Irradiance Range (W/m²) | I-V Sweep File Ref | Notes / Target Parameter
20260819-E01 | 2026-08-19 | 90 | OFF | Closed | 31.8889 | 4.8 | 384.2222 | 82 | IV_sweep_E01.csv | Rsh extraction focus
20260819-E02 | 2026-08-19 | 60 | Low | Closed | 33.8778 | 5.3 | 392.1111 | 90 | IV_sweep_E02.csv | Thermal drift monitoring
20260819-E03 | 2026-08-19 | 40 | High | Closed | 30.8889 | 5.4 | 861.8889 | 169 | IV_sweep_E03.csv | Iph & Rs isolation at 25°C

## Sheet1
PV LAB EXPERIMENTAL DATA ENTRY TEMPLATE (DDM PARAMETER EXTRACTION)Day4-24August 2026
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 31.5 | 30.8 | 30.2 | Average | 33.5222 | Top | 826 | 934 | 826 | Average | 887.4444 | Top | 40.4 | 38.7 | 37 | Average | 40.2778
Middle | 33.2 | 33.5 | 32.3 | Minimum | 30.2 | Middle | 874 | 1003 | 872 | Minimum | 826 | Middle | 41 | 40.9 | 37.4 | Minimum | 37
Bottom | 36.1 | 38 | 36.1 | Maximum | 38 | Bottom | 852 | 960 | 840 | Maximum | 1003 | Bottom | 42.9 | 42.9 | 41.3 | Maximum | 42.9
|  |  |  | Range | 7.8 |  |  |  |  | Range | 177 |  |  |  |  | Range | 5.9
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 2.6804 |  |  |  |  | Uniform(%) | 9.6774 |  |  |  |  | Std | 2.1574
Lamp Distance (cm): |  | 60 cm
Fan Condition: |  | ON
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | At STC condtions (1000 W/m² at 25°C )
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 27.7 | 26.9 | 27 | Average | 28.4778 | Top | 285 | 262 | 256 | Average | 292.3333 | Top | 30.4 | 30.2 | 29.9 | Average | 31.225
Middle | 28.7 | 29.2 | 28.3 | Minimum | 26.9 | Middle | 301 | 303 | 284 | Minimum | 256 | Middle | 31.6 | 31..3 | 30.9 | Minimum | 29.9
Bottom | 29.4 | 29.5 | 29.6 | Maximum | 29.6 | Bottom | 315 | 324 | 301 | Maximum | 324 | Bottom | 32.1 | 32.6 | 32.1 | Maximum | 32.6
|  |  |  | Range | 2.7 |  |  |  |  | Range | 68 |  |  |  |  | Range | 2.7
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.0628 |  |  |  |  | Uniform(%) | 11.7241 |  |  |  |  | Std | 1.011
Lamp Distance (cm): |  | 60 cm
Fan Condition: |  | ON
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | At low irradiance

## Env 01 Sep 2026
PV LAB EXPERIMENTAL DATA ENTRY TEMPLATE (DDM PARAMETER EXTRACTION)--- 01 September 2026
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 32.3 | 31.2 | 32 | Average | 32.3889 | Top | 153 | 165 | 151 | Average | 167.1111 | Top | 32.1 | 32.5 | 33.5 | Average | 33.1
Middle | 30.4 | 31.7 | 33.1 | Minimum | 30.4 | Middle | 177 | 186 | 170 | Minimum | 151 | Middle | 31.5 | 32.5 | 32.4 | Minimum | 31.5
Bottom | 33.4 | 34.1 | 33.3 | Maximum | 34.1 | Bottom | 168 | 175 | 159 | Maximum | 186 | Bottom | 34.1 | 34.8 | 34.5 | Maximum | 34.8
|  |  |  | Range | 3.7 |  |  |  |  | Range | 35 |  |  |  |  | Range | 3.3
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.1879 |  |  |  |  | Uniform(%) | 10.3858 |  |  |  |  | Std | 1.1608
Lamp Distance (cm): |  | 90 cm, voltage bulbs at 150V
Fan Condition: |  | ON
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant temperature varying irradance(lowest irradiance)
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 32.5 | 32.7 | 33.6 | Average | 34.6778 | Top | 300 | 320 | 280 | Average | 308.2222 | Top | 33.4 | 34.3 | 35.4 | Average | 36.3667
Middle | 34.6 | 35.8 | 34.6 | Minimum | 32.5 | Middle | 330 | 340 | 297 | Minimum | 270 | Middle | 35.6 | 36.6 | 37.1 | Minimum | 33.4
Bottom | 35.8 | 36.5 | 36 | Maximum | 36.5 | Bottom | 317 | 320 | 270 | Maximum | 340 | Bottom | 38.1 | 38.3 | 38.5 | Maximum | 38.5
|  |  |  | Range | 4 |  |  |  |  | Range | 70 |  |  |  |  | Range | 5.1
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.4754 |  |  |  |  | Uniform(%) | 11.4754 |  |  |  |  | Std | 1.8193
Lamp Distance (cm): |  | 90 cm voltage bulbs at 200V
Fan Condition: |  | ON
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant temperature varying irradance(mid irradiance)
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 31.3 | 31 | 33.1 | Average | 34.5222 | Top | 460 | 496 | 407 | Average | 445.5556 | Top | 36.2 | 35 | 37.2 | Average | 37.4333
Middle | 33.4 | 35.2 | 35.7 | Minimum | 31 | Middle | 482 | 490 | 415 | Minimum | 407 | Middle | 36.7 | 37.5 | 37.9 | Minimum | 35
Bottom | 36.5 | 36.9 | 37.6 | Maximum | 37.6 | Bottom | 412 | 440 | 408 | Maximum | 496 | Bottom | 38.4 | 39.5 | 38.5 | Maximum | 39.5
|  |  |  | Range | 6.6 |  |  |  |  | Range | 89 |  |  |  |  | Range | 4.5
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 2.4227 |  |  |  |  | Uniform(%) | 9.856 |  |  |  |  | Std | 1.3509
Lamp Distance (cm): |  | 90 cm voltage bulbs at 250V
Fan Condition: |  | ON
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant temperature varying irradance(highest irradiance)
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top |  |  |  | Average | #DIV/0! | Top |  |  |  | Average | #DIV/0! | Top |  |  |  | Average | #DIV/0!
Middle |  |  |  | Minimum | 0 | Middle |  |  |  | Minimum | 0 | Middle |  |  |  | Minimum | 0
Bottom |  |  |  | Maximum | 0 | Bottom |  |  |  | Maximum | 0 | Bottom |  |  |  | Maximum | 0
|  |  |  | Range | 0 |  |  |  |  | Range | 0 |  |  |  |  | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0! |  |  |  |  | Uniform(%) | #DIV/0! |  |  |  |  | Std | #DIV/0!
Lamp Distance (cm): |  | 90 cm voltage at 200V
Fan Condition: |  | ON
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant irradiance varying temperature

## Env 02 Sep 26
PV LAB EXPERIMENTAL DATA ENTRY TEMPLATE (DDM PARAMETER EXTRACTION)---2 September 2026
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right
Top | 21.3 | 22.4 | 21.1 | Average | 22.1 | Top | 252.5 | 211.8 | 205.5 | Average | 218.5111 | Top
Middle | 21.8 | 25.3 | 21.2 | Minimum | 20.7 | Middle | 240.7 | 215.5 | 196.6 | Minimum | 171.5 | Middle
Bottom | 20.7 | 23.5 | 21.6 | Maximum | 25.3 | Bottom | 225 | 227 | 192 | Maximum | 252.5 | Bottom
|  |  |  | Range | 0 |  |  |  |  | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0! |  |  |  |  | Uniform(%) | #DIV/0!
Lamp Distance (cm): |  | Outside 15:45
Fan Condition:
Window Condition: |  | Closed / unShielded
Test Purpose / Notes:
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right
Top | 19.1 | 19.5 | 20.6 | Average | 19.5778 | Top | 171.5 | 192.7 | 177.8 | Average | 184.3667 | Top
Middle | 19 | 20.2 | 20.9 | Minimum | 18 | Middle | 188.7 | 201.5 | 180.8 | Minimum | 171.5 | Middle
Bottom | 18 | 20.3 | 18.6 | Maximum | 20.9 | Bottom | 182.1 | 192.3 | 171.9 | Maximum | 201.5 | Bottom
|  |  |  | Range | 0 |  |  |  |  | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0! |  |  |  |  | Uniform(%) | #DIV/0!
Lamp Distance (cm): |  | Outside 16:00
Fan Condition:
Window Condition: |  | Closed / unShielded
Test Purpose / Notes:

## Env 07 Sep 2026
PV LAB EXPERIMENTAL DATA ENTRY TEMPLATE (DDM PARAMETER EXTRACTION)---7 September 2026
15:45
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 51.7 | 50.8 | 53.5 | Average | 51.4778 | Top | 675 | 607.2 | 662.5 | Average | 651.1222 | Top |  |  |  | Average | #DIV/0!
Middle | 50.6 | 51.8 | 52.5 | Minimum | 50.5 | Middle | 683.9 | 685 | 667.1 | Minimum | 607.2 | Middle |  |  |  | Minimum | 0
Bottom | 51 | 50.5 | 50.9 | Maximum | 53.5 | Bottom | 615.8 | 627.5 | 636.1 | Maximum | 685 | Bottom |  |  |  | Maximum | 0
|  |  |  | Range | 3 |  |  |  |  | Range | 77.8 |  |  |  |  | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.0022 |  |  |  |  | Uniform(%) | 6.0207 |  |  |  |  | Std | #DIV/0!
Lamp Distance (cm): |  | Outside
Fan Condition:
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Outside
current
voltage
16:00
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²) | [5 empty] | 20260819-E02 – Temperature Grid After(°C)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right
Top | 47.3 | 47.8 | 49.6 | Average | 48.8333 | Top | 613.8 | 651.9 | 632.8 | Average | 629.0111 | Top
Middle | 48 | 51.4 | 51.1 | Minimum | 47.3 | Middle | 662.6 | 626.8 | 607.9 | Minimum | 604.4 | Middle
Bottom | 47.8 | 48.3 | 48.2 | Maximum | 51.4 | Bottom | 604.4 | 630.8 | 630.1 | Maximum | 662.6 | Bottom
|  |  |  | Range | 4.1 |  |  |  |  | Range | 58.2
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5075 |  |  |  |  | Uniform(%) | 4.5935
Lamp Distance (cm): |  | Outside
Fan Condition:
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Outside
16:15
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 45.4 | 46.9 | 47.5 | Average | 46.8222 | Top | 552.8 | 619.1 | 613.6 | Average | 592.9111
Middle | 45.3 | 50 | 49.1 | Minimum | 44.2 | Middle | 604.6 | 615.6 | 585.9 | Minimum | 552.8
Bottom | 44.2 | 46.4 | 46.6 | Maximum | 50 | Bottom | 583.9 | 559 | 601.7 | Maximum | 619.1
|  |  |  | Range | 5.8 |  |  |  |  | Range | 66.3
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.8438 |  |  |  |  | Uniform(%) | 5.6575
Lamp Distance (cm): |  | Outside
Fan Condition:
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Outside
16:30
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 43.6 | 43.8 | 44.8 | Average | 41.8778 | Top | 485.7 | 577.9 | 591.9 | Average | 413.4222
Middle | 41 | 44.6 | 46.9 | Minimum | 28.9 | Middle | 50.6 | 517.1 | 558.3 | Minimum | 47.5
Bottom | 28.9 | 37.8 | 45.5 | Maximum | 46.9 | Bottom | 47.5 | 367.8 | 524 | Maximum | 591.9
|  |  |  | Range | 18 |  |  |  |  | Range | 544.4
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 5.554 |  |  |  |  | Uniform(%) | 85.1423
Lamp Distance (cm): |  | Outside
Fan Condition:
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Outside with parial shading

## Env 17 Sep 2026
CONSTANT irradiance VARYING temperature
C=0.4170
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 38 | 39.5 | 38.8 | Average | 38.6444 | Top | 334.1 | 384.5 | 337.4 | Average | 338.2556
Middle | 38.4 | 39.6 | 40 | Minimum | 35.1 | Middle | 316.5 | 371.3 | 348.6 | Minimum | 312.3
Bottom | 35.1 | 39.5 | 38.9 | Maximum | 40 | Bottom | 312.3 | 321.8 | 317.8 | Maximum | 384.5
|  |  |  | Range | 4.9 |  |  |  |  | Range | 72.2
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.4723 |  |  |  |  | Uniform(%) | 10.3617
Lamp Distance (cm): |  | Inside variac voltage is 150V
Fan Condition: |  | off
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant irradiance, varying temperature
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 28.5 | 30.1 | 30.6 | Average | 32.2444 | Top | 329.7 | 380.3 | 304.6 | Average | 340.2333
Middle | 31 | 32 | 32.8 | Minimum | 28.5 | Middle | 307 | 385 | 340.7 | Minimum | 304.6
Bottom | 34.3 | 35.1 | 35.8 | Maximum | 35.8 | Bottom | 306.3 | 368.5 | 340 | Maximum | 385
|  |  |  | Range | 7.3 |  |  |  |  | Range | 80.4
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 2.4562 |  |  |  |  | Uniform(%) | 11.6589
Lamp Distance (cm): |  | Inside variac voltage = 150 V
Fan Condition: |  | On
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant irradiance, varying temperature
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 42.2 | 46 | 46.1 | Average | 45.7 | Top | 335.4 | 412.7 | 341.1 | Average | 370.5625
Middle | 45.5 | 47.2 | 46.8 | Minimum | 42.2 | Middle | 346 | 425.9 | 402.2 | Minimum | 331.4
Bottom | 43 | 48 | 46.5 | Maximum | 48 | Bottom | 331.4 | 409..4 | 369.8 | Maximum | 425.9
|  |  |  | Range | 5.8 |  |  |  |  | Range | 94.5
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.9112 |  |  |  |  | Uniform(%) | 12.4785
Lamp Distance (cm): |  | Inside varic voltage = 150V
Fan Condition: |  | On
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant irradiance, varying temperature
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 47.3 | 47.8 | 49.6 | Average | 48.8333 | Top | 613.8 | 651.9 | 632.8 | Average | 629.0111
Middle | 48 | 51.4 | 51.1 | Minimum | 47.3 | Middle | 662.6 | 626.8 | 607.9 | Minimum | 604.4
Bottom | 47.8 | 48.3 | 48.2 | Maximum | 51.4 | Bottom | 604.4 | 630.8 | 630.1 | Maximum | 662.6
|  |  |  | Range | 4.1 |  |  |  |  | Range | 58.2
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5075 |  |  |  |  | Uniform(%) | 4.5935
Lamp Distance (cm): |  | Inside
Fan Condition: |  | On
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant irradiance, varying temperature

## Env 18 Sep 2026
c=0.4170
CONSTANT irradiance VARYING temperature
20260918-E02 – Temperature Grid (°C) | [5 empty] | 20260918-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 27.9 | 30.8 | 31.2 | Average | 30.6778 | Top | 312.5 | 355.5 | 301.2 | Average | 333.9889
Middle | 29.7 | 31.9 | 32.1 | Minimum | 27.9 | Middle | 315.8 | 371.3 | 350 | Minimum | 301.2
Bottom | 29 | 32.2 | 31.3 | Maximum | 32.2 | Bottom | 309 | 359.2 | 331.4 | Maximum | 371.3
|  |  |  | Range | 4.3 |  |  |  |  | Range | 70.1
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.4998 |  |  |  |  | Uniform(%) | 10.4238
Lamp Distance (cm): |  | Inside variac voltage is 150V
Fan Condition: |  | off
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant irradiance, varying temperature
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 40.4 | 43.6 | 43.5 | Average | 42.8778 | Top | 305.2 | 354.8 | 300.4 | Average | 334.2222
Middle | 43.1 | 44 | 43.3 | Minimum | 40.4 | Middle | 312.9 | 384.3 | 358.5 | Minimum | 300.4
Bottom | 40.5 | 44.2 | 43.3 | Maximum | 44.2 | Bottom | 308.5 | 362.5 | 320.9 | Maximum | 384.3
|  |  |  | Range | 3.8 |  |  |  |  | Range | 83.9
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.4193 |  |  |  |  | Uniform(%) | 12.2535
Lamp Distance (cm): |  | Inside variac voltage is 150V
Fan Condition: |  | off
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | constant irradiance, varying temperature

## Env 22 Sep 2026
IV CURVES ACROSS DIFFERENT IRRADIANCE AND TEMPERATURE RANGES THAT WILL BE USED TO VALIDATE THE SDM
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 34.2 | 36 | 36.4 | Average | 36.2222 | Top | 181 | 203.9 | 202.2 | Average | 208.2444
Middle | 35.9 | 36.7 | 37 | Minimum | 34.2 | Middle | 204.6 | 229.7 | 229.2 | Minimum | 181
Bottom | 36.2 | 37 | 36.6 | Maximum | 37 | Bottom | 198 | 215.1 | 210.5 | Maximum | 229.7
|  |  |  | Range | 2.8 |  |  |  |  | Range | 48.7
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 0.85554 |  |  |  |  | Uniform(%) | 11.8578
Lamp Distance (cm): |  | Inside variac voltage is 150V
Fan Condition: |  | Off, distance is 90 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 38.6 | 40.7 | 41.4 | Average | 41.1111 | Top | 281.9 | 321.1 | 315.6 | Average | 322.0778
Middle | 42.8 | 42 | 42.1 | Minimum | 38.6 | Middle | 321.8 | 353.3 | 351.5 | Minimum | 281.9
Bottom | 39.6 | 41.5 | 41.3 | Maximum | 42.8 | Bottom | 303.7 | 326.2 | 323.6 | Maximum | 353.3
|  |  |  | Range | 4.2 |  |  |  |  | Range | 71.4
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.3062 |  |  |  |  | Uniform(%) | 11.2406
Lamp Distance (cm): |  | Inside variac voltage is 180V
Fan Condition: |  | off, distance is 90cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 41.2 | 43.3 | 45.2 | Average | 45.0333 | Top | 335.4 | 401.5 | 380.3 | Average | 398.5333
Middle | 44 | 46.3 | 46.6 | Minimum | 41.2 | Middle | 402.2 | 443.1 | 439.4 | Minimum | 335.4
Bottom | 46 | 46.5 | 46.2 | Maximum | 46.6 | Bottom | 379 | 402.2 | 403.7 | Maximum | 443.1
|  |  |  | Range | 5.4 |  |  |  |  | Range | 107.7
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.8473 |  |  |  |  | Uniform(%) | 13.8343
Lamp Distance (cm): |  | Inside variac voltage is 200V
Fan Condition: |  | On
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 44.6 | 47.2 | 47 | Average | 48.9444 | Top | 440.5 | 514 | 510.1 | Average | 522.6333
Middle | 50.9 | 51.1 | 50.8 | Minimum | 44.6 | Middle | 533 | 580.6 | 564 | Minimum | 440.5
Bottom | 47.5 | 50 | 51.4 | Maximum | 51.4 | Bottom | 503.9 | 531.2 | 526.4 | Maximum | 580.6
|  |  |  | Range | 6.8 |  |  |  |  | Range | 140.1
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 2.4198 |  |  |  |  | Uniform(%) | 13.7205
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | On
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-

## Env 23 Sep 2026
IV CURVES ACROSS DIFFERENT IRRADIANCE AND TEMPERATURE RANGES THAT WILL BE USED TO VALIDATE THE SDM
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 30.2 | 31.7 | 31.5 | Average | 32.5778 | Top | 350 | 403.5 | 377.9 | Average | 394.7111
Middle | 32.5 | 33.5 | 33.4 | Minimum | 30.2 | Middle | 402.8 | 444 | 411.6 | Minimum | 350
Bottom | 32.3 | 34.4 | 33.7 | Maximum | 34.4 | Bottom | 378.6 | 403 | 381 | Maximum | 444
|  |  |  | Range | 4.2 |  |  |  |  | Range | 94
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.3122 |  |  |  |  | Uniform(%) | 11.8388
Lamp Distance (cm): |  | Inside variac voltage is 200V
Fan Condition: |  | ON, distance is 90 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-constant irradiance varying temperature
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 40.4 | 42.2 | 43.5 | Average | 43.1778 | Top | 357.9 | 416.2 | 385 | Average | 402.3111
Middle | 44 | 44.5 | 44.3 | Minimum | 40.4 | Middle | 405.5 | 450.4 | 418.7 | Minimum | 357.9
Bottom | 42.4 | 43.5 | 43.8 | Maximum | 44.5 | Bottom | 385 | 418.2 | 383.9 | Maximum | 450.4
|  |  |  | Range | 4.1 |  |  |  |  | Range | 92.5
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.3017 |  |  |  |  | Uniform(%) | 11.4438
Lamp Distance (cm): |  | Inside variac voltage is 200V
Fan Condition: |  | Off, distance is 90 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-constant irradiance varying temperature
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 40.3 | 43 | 43.8 | Average | 43.2889 | Top | 350.2 | 406.1 | 377.9 | Average | 395.2778
Middle | 44.8 | 44.5 | 44.5 | Minimum | 40.3 | Middle | 402.2 | 455.2 | 417.4 | Minimum | 350.2
Bottom | 41.5 | 43.6 | 43.6 | Maximum | 44.8 | Bottom | 377 | 393.6 | 377.9 | Maximum | 455.2
|  |  |  | Range | 4.5 |  |  |  |  | Range | 105
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.4954 |  |  |  |  | Uniform(%) | 13.037
Lamp Distance (cm): |  | Inside variac voltage is 200V
Fan Condition: |  | Off, distance is 90 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-constant irradiance varying temperature
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 34.7 | 35 | 35.6 | Average | 37.5444 | Top | 348.6 | 406 | 379 | Average | 393.1667
Middle | 38.5 | 39.5 | 38.1 | Minimum | 34.7 | Middle | 396.9 | 437.8 | 414.7 | Minimum | 348.6
Bottom | 38 | 39.5 | 39 | Maximum | 39.5 | Bottom | 377 | 402.8 | 375.7 | Maximum | 437.8
|  |  |  | Range | 4.8 |  |  |  |  | Range | 89.2
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.9217 |  |  |  |  | Uniform(%) | 11.3428
Lamp Distance (cm): |  | Inside variac voltage is 200V
Fan Condition: |  | On, distance is 90 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-constant irradiance varying temperature
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top |  |  |  | Average | #DIV/0! | Top |  |  |  | Average | #DIV/0!
Middle |  |  |  | Minimum | 0 | Middle |  |  |  | Minimum | 0
Bottom |  |  |  | Maximum | 0 | Bottom |  |  |  | Maximum | 0
|  |  |  | Range | 0 |  |  |  |  | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0! |  |  |  |  | Uniform(%) | #DIV/0!
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | On, distance is 90 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-constant irradiance varying temperature

## Env 25Sep 2026
IV CURVES ACROSS DIFFERENT IRRADIANCE AND TEMPERATURE RANGES THAT WILL BE USED TO VALIDATE THE SDM
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 27.4 | 28 | 28 | Average | 29 | Top | 193.6 | 206.1 | 197.5 | Average | 206.5444
Middle | 31.4 | 29.5 | 29 | Minimum | 27.4 | Middle | 213.8 | 229.7 | 213.2 | Minimum | 193.6
Bottom | 29 | 29.4 | 29.3 | Maximum | 31.4 | Bottom | 197.3 | 207.2 | 200.5 | Maximum | 229.7
|  |  |  | Range | 4 |  |  |  |  | Range | 36.1
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.163 |  |  |  |  | Uniform(%) | 8.5282
Lamp Distance (cm): |  | Inside variac voltage is 150V
Fan Condition: |  | ON, distance is 90 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-constant temperature varying irradiance
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 29.5 | 30.1 | 30.4 | Average | 31.0778 | Top | 281.9 | 312.9 | 307 | Average | 318.1556
Middle | 31.6 | 32 | 31.4 | Minimum | 29.5 | Middle | 321.8 | 351.9 | 324.2 | Minimum | 281.9
Bottom | 31.3 | 31.9 | 31.5 | Maximum | 32 | Bottom | 304.6 | 352.1 | 307 | Maximum | 352.1
|  |  |  | Range | 2.5 |  |  |  |  | Range | 70.2
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 0.86859 |  |  |  |  | Uniform(%) | 11.0726
Lamp Distance (cm): |  | Inside variac voltage is 180V
Fan Condition: |  | ON, distance is 90 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-constant temperature varying irradiance
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 29.5 | 30.4 | 31 | Average | 31.6333 | Top | 342.2 | 406.1 | 366.5 | Average | 394.6778
Middle | 31.5 | 32.6 | 32.5 | Minimum | 29.5 | Middle | 405.7 | 447.7 | 405 | Minimum | 342.2
Bottom | 32 | 32.4 | 32.8 | Maximum | 32.8 | Bottom | 386.3 | 414 | 378.6 | Maximum | 447.7
|  |  |  | Range | 3.3 |  |  |  |  | Range | 105.5
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.1325 |  |  |  |  | Uniform(%) | 13.3561
Lamp Distance (cm): |  | Inside variac voltage is 200V
Fan Condition: |  | ON, distance is 90 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-constant temperature varying irradiance
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 30.7 | 32.4 | 33 | Average | 33.7444 | Top | 455.2 | 506.1 | 462.5 | Average | 501.2111
Middle | 33.7 | 35 | 35 | Minimum | 30.7 | Middle | 513.8 | 562.1 | 520.4 | Minimum | 455.2
Bottom | 33.4 | 35.5 | 35 | Maximum | 35.5 | Bottom | 483.4 | 521.1 | 486.3 | Maximum | 562.1
|  |  |  | Range | 4.8 |  |  |  |  | Range | 106.9
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5637 |  |  |  |  | Uniform(%) | 10.5082
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | On, distance is 90 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Validation data-constant temperature varying irradiance

## Env 28 Sep 2026
ENV FOR PARTIAL SHADING CONDITIONS
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top | 39.6 | 43.5 | 45.2 | Average | 44.4889 |  | Top | 651.5 | 761 | 716.7 | Average | 742.6667
Middle | 43.5 | 46.5 | 46.8 | Minimum | 39.6 |  | Middle | 701.5 | 819.8 | 811.4 | Minimum | 651.5
Bottom | 42 | 46.4 | 46.9 | Maximum | 46.9 |  | Bottom | 677 | 796 | 749.1 | Maximum | 819.8
|  |  |  | Range | 7.3 | [5 empty] | Range | 168.3
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 2.535 | [5 empty] | Uniform(%) | 11.4389
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Partial shading cell:Column 1 Row 1
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top | 43.6 | 50.7 | 51.5 | Average | 50.6222 |  | Top | 632.1 | 764.8 | 740.2 | Average | 749.4
Middle | 48.4 | 54.8 | 53.5 | Minimum | 43.6 |  | Middle | 678.4 | 821.8 | 850.2 | Minimum | 632.1
Bottom | 47.5 | 52.8 | 52.8 | Maximum | 54.8 |  | Bottom | 658.5 | 800 | 798.6 | Maximum | 850.2
|  |  |  | Range | 11.2 | [5 empty] | Range | 218.1
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 3.5355 | [5 empty] | Uniform(%) | 14.7136
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Partial shading cell:Column 1 Row 11
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top | 49 | 50.4 | 51.3 | Average | 50.7111 |  | Top | 646.5 | 757 | 739.4 | Average | 749.5111
Middle | 48.5 | 51.7 | 52.7 | Minimum | 47.5 |  | Middle | 674.4 | 839.2 | 830.3 | Minimum | 646.5
Bottom | 47.5 | 52.5 | 52.8 | Maximum | 52.8 |  | Bottom | 662.7 | 799.5 | 796.6 | Maximum | 839.2
|  |  |  | Range | 5.3 | [5 empty] | Range | 192.7
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.9707 | [5 empty] | Uniform(%) | 12.9703
Lamp Distance (cm): |  | Inside variac voltage is 220V |  |  |  | TEMP OF THE COVERED CELL = 45.7
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Partial shading cell:Column 3 Row 1
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top | 48 | 50 | 50.2 | Average | 50.3667 |  | Top | 624.2 | 782.8 | 751.1 | Average | 750.1111
Middle | 48.5 | 52 | 53.6 | Minimum | 0 |  | Middle | 669.1 | 835.6 | 828.4 | Minimum | 0
Bottom | 47.5 | 50.8 | 52.7 | Maximum | 0 |  | Bottom | 655.9 | 794.9 | 809 | Maximum | 0
|  |  |  | Range | 0 | [5 empty] | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0! | [5 empty] | Uniform(%) | #DIV/0!
Lamp Distance (cm): |  | Inside variac voltage is 220V |  |  |  | temp of covered cell = 38.5
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Partial shading cell:Column 3 Row 11
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top | 45.8 | 51.5 | 51.7 | Average | 50.8556 |  | Top | 639.4 | 776.2 | 730.1 | Average | 749.7333
Middle | 50.5 | 53.4 | 52 | Minimum | 0 |  | Middle | 664.5 | 834.3 | 847.7 | Minimum | 0
Bottom | 47.8 | 52 | 53 | Maximum | 0 |  | Bottom | 663.4 | 791.4 | 800.6 | Maximum | 0
|  |  |  | Range | 0 | [5 empty] | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0! | [5 empty] | Uniform(%) | #DIV/0!
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm |  |  |  | temp of the covered cell =
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Partial shading cell:Column 2 Row 6 (middle of the PV panel )
BASELINE IV/PV CURVE AT THESE CONDITIONS
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top |  |  |  | Average | #DIV/0! |  | Top | 679.9 | 828.4 | 731.4 | Average | 747.9667
Middle |  |  |  | Minimum | 0 |  | Middle | 698.8 | 850.8 | 801.9 | Minimum | 657.2
Bottom |  |  |  | Maximum | 0 |  | Bottom | 657.2 | 772.4 | 710.9 | Maximum | 850.8
|  |  |  | Range | 0 | [5 empty] | Range | 193.6
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0! | [5 empty] | Uniform(%) | 12.8382
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Partial shading cell:Column 3 Row 1
The process is taking the env then covering the cell and immediatetly doing a voltage sweep
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top |  |  |  | Average | #DIV/0! |  | Top |  |  |  | Average | #DIV/0!
Middle |  |  |  | Minimum | 0 |  | Middle |  |  |  | Minimum | 0
Bottom |  |  |  | Maximum | 0 |  | Bottom |  |  |  | Maximum | 0
|  |  |  | Range | 0 | [5 empty] | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0! | [5 empty] | Uniform(%) | #DIV/0!
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Baseline

## Env 30 Sep
ENV FOR PARTIAL SHADING CONDITIONS
Purpose: Is to see if you get multiple peaks when you have mass partial shading
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top | 50.8 | 52.8 | 51.6 | Average | 52.2778 |  | Top | 679.7 | 832.3 | 685 | Average | 775.4556
Middle | 50.2 | 53.9 | 52.5 | Minimum | 50.2 |  | Middle | 776.2 | 890.5 | 798.6 | Minimum | 679.7
Bottom | 51.8 | 54.6 | 52.3 | Maximum | 54.6 |  | Bottom | 732.5 | 834.3 | 750 | Maximum | 890.5
|  |  |  | Range | 4.4 | [5 empty] | Range | 210.8
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.3935 | [5 empty] | Uniform(%) | 13.425
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | BASELINE
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top | 52.9 | 55 | 54 | Average | 54.6111 |  | Top | 698.4 | 817.8 | 694.4 | Average | 776.9111
Middle | 52.6 | 58 | 55.9 | Minimum | 50.9 |  | Middle | 787.4 | 896.6 | 780.1 | Minimum | 694.4
Bottom | 50.9 | 57.2 | 55 | Maximum | 58 |  | Bottom | 744.4 | 828.4 | 744.7 | Maximum | 896.6
|  |  |  | Range | 7.1 | [5 empty] | Range | 202.2
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 2.2713 | [5 empty] | Uniform(%) | 12.709
Lamp Distance (cm): |  | Inside variac voltage is 220V |  |  |  | after 5 min the temp of the covered area was = 40
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Cover col 3 row (1-5)
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top | 48 | 55 | 54 | Average | #DIV/0! |  | Top | 675.3 | 839.6 | 698.2 | Average | #DIV/0!
Middle | 52.5 | 56.8 | 55.2 | Minimum | 0 |  | Middle | 789.4 | 888.5 | 785.4 | Minimum | 0
Bottom | 53 | 56.2 | 55 | Maximum | 0 |  | Bottom | 737.8 | 835.6 | 743.8 | Maximum | 0
|  |  |  | Range | 0 | [5 empty] | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0! | [5 empty] | Uniform(%) | #DIV/0!
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Cover col 2 row (1-5)
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top | 50 | 51.4 | 53 | Average | #DIV/0! |  | Top | 705 | 850.2 | 693.6 | Average | #DIV/0!
Middle | 53.2 | 56.7 | 54.6 | Minimum | 0 |  | Middle | 792 | 904.6 | 787.6 | Minimum | 0
Bottom | 52.4 | 56.2 | 53.6 | Maximum | 0 |  | Bottom | 751.7 | 851.7 | 764.5 | Maximum | 0
|  |  |  | Range | 0 | [5 empty] | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0! | [5 empty] | Uniform(%) | #DIV/0!
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | Cover col 1row 1-5
PURPOSE: RE-TESTING THE PARTIAL SHADING FROM 28 SEP
20260819-E02 – Temperature Grid (°C) | [6 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  |  | Position | Left | Centre | Right | Metric
Top | 50 | 50.2 | 52.5 | Average | #DIV/0! |  | Top | 697.5 | 848.2 | 696.2 | Average | #DIV/0!
Middle | 53.5 | 56.7 | 55.7 | Minimum | 0 |  | Middle | 796.6 | 909.9 | 778.9 | Minimum | 0
Bottom | 52.2 | 55.1 | 52.6 | Maximum | 0 |  | Bottom | 755.8 | 844.9 | 732.5 | Maximum | 0
|  |  |  | Range | 0 | [5 empty] | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | #DIV/0! | [5 empty] | Uniform(%) | #DIV/0!
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | col 3 row 1

## Env 30 Sep
ENV FOR PARTIAL SHADING CONDITIONS - repeat because some data was missing
Purpose: Is to see if you get multiple peaks when you have mass partial shading
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 49 | 53 | 50.8 | Average | 51.3333 | Top | 685.6 | 823.1 | 679.7 | Average | 770.3
Middle | 50.3 | 53.9 | 52.5 | Minimum | 48.9 | Middle | 779.5 | 893.1 | 777 | Minimum | 679.7
Bottom | 48.9 | 53.4 | 50.2 | Maximum | 53.9 | Bottom | 744.4 | 821.1 | 729.2 | Maximum | 893.1
|  |  |  | Range | 5 |  |  |  |  | Range | 213.4
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.9039 |  |  |  |  | Uniform(%) | 13.5682
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | BASELINE
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 48.9 | 53.3 | 50.4 | Average | 51.8556 | Top | 710.1 | 846.2 | 698.2 | Average | 774.3778
Middle | 51.1 | 55 | 52 | Minimum | 48.9 | Middle | 765.1 | 890 | 780.8 | Minimum | 698.2
Bottom | 50.9 | 54 | 51.1 | Maximum | 55 | Bottom | 731.9 | 821.1 | 726 | Maximum | 890
|  |  |  | Range | 6.1 |  |  |  |  | Range | 191.8
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.9204 |  |  |  |  | Uniform(%) | 12.0766
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | col3 row 1-5
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 50.2 | 52.8 | 50.8 | Average | 52.0778 | Top | 719.3 | 872.9 | 714.9 | Average | 791.6333
Middle | 51.5 | 54.5 | 53.2 | Minimum | 49.8 | Middle | 764.5 | 914 | 806.6 | Minimum | 714.9
Bottom | 49.8 | 53.8 | 52.1 | Maximum | 54.5 | Bottom | 715.4 | 850 | 767.1 | Maximum | 914
|  |  |  | Range | 4.7 |  |  |  |  | Range | 199.1
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.6315 |  |  |  |  | Uniform(%) | 12.223
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | col3 row 11 moving cloud

## Env 1 October
Investigating bypass diode and serverity of the shading
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 50 | 54.8 | 52 | Average | 53.2444 | Top | 690.3 | 842.9 | 673.1 | Average | 775.8
Middle | 53.9 | 55 | 55 | Minimum | 50 | Middle | 762.3 | 896.4 | 825.7 | Minimum | 673.1
Bottom | 51 | 53 | 54.5 | Maximum | 55 | Bottom | 712.7 | 819.8 | 759 | Maximum | 896.4
|  |  |  | Range | 5 |  |  |  |  | Range | 223.3
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.8629 |  |  |  |  | Uniform(%) | 14.2275
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | baseline
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 52 | 57 | 55 | Average | 55.9111 | Top | 703 | 824.6 | 722.9 | Average | 779.9778
Middle | 56 | 58 | 57 | Minimum | 52 | Middle | 762.9 | 901.7 | 816.5 | Minimum | 703
Bottom | 52.8 | 57.8 | 57.6 | Maximum | 58 | Bottom | 706.8 | 813.2 | 768.2 | Maximum | 901.7
|  |  |  | Range | 6 |  |  |  |  | Range | 198.7
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 2.2071 |  |  |  |  | Uniform(%) | 12.3824
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | baseline

## Env 2Oct
Repeating 100 % shading of cells across two sbustrings
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 50.3 | 54.6 | 52 | Average | 52.7222 | Top | 694.9 | 799.3 | 712.1 | Average | 763.5222
Middle | 52.9 | 55.4 | 53.5 | Minimum | 50.3 | Middle | 743.3 | 880.6 | 792 | Minimum | 694.9
Bottom | 51.2 | 53.4 | 51.2 | Maximum | 55.4 | Bottom | 710.7 | 803.4 | 735.4 | Maximum | 880.6
|  |  |  | Range | 5.1 |  |  |  |  | Range | 185.7
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.6888 |  |  |  |  | Uniform(%) | 11.7867
Lamp Distance (cm): |  | Inside variac voltage is 220V
Fan Condition: |  | Off, distance is 60 cm
Window Condition: |  | Closed / unShielded
Test Purpose / Notes: |  | baseline
start substring 1
col3 row 1 | col 3 row2,10
col 3 row 11 | col 3 row 2,col 2 row 1
col 3 row 5
col2 row 1
start substring 2
col 1

## Env 05Oct
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 51.5 | 52 | 53.9 | Average | 52.0556 | Top | 804.6 | 777.5 | 772.9 | Average | 782.0667
Middle | 50.9 | 52.8 | 54.7 | Minimum | 49.6 | Middle | 770.9 | 773.4 | 798 | Minimum | 770.2
Bottom | 49.6 | 51.3 | 51.8 | Maximum | 54.7 | Bottom | 770.2 | 784.8 | 786.3 | Maximum | 804.6
|  |  |  | Range | 5.1 |  |  |  |  | Range | 34.4
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5517 |  |  |  |  | Uniform(%) | 2.1844
Lamp Distance (cm): |  | Outside
Fan Condition:
Window Condition:
Test Purpose / Notes: |  | baseline

## Env 06Oct
These are the environmental conditions of PANEL SUNLIGHT
The purpose of changing panels is to check if under partial shading, the results are expected
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 49.7 | 50.1 | 49.8 | Average | 51.2222 | Top | 655.2 | 773.5 | 669.8 | Average | 768.8111
Middle | 52.5 | 53.5 | 53.1 | Minimum | 49.7 | Middle | 734.8 | 908.5 | 817.1 | Minimum | 655.2
Bottom | 50 | 50.5 | 51.8 | Maximum | 53.5 | Bottom | 714 | 859.4 | 787 | Maximum | 908.5
|  |  |  | Range | 3.8 |  |  |  |  | Range | 253.3
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5123 |  |  |  |  | Uniform(%) | 16.1988
Lamp Distance (cm): |  | Inside, variac voltage is 220V
Fan Condition: |  | Off
Window Condition: |  | distance is 60cm
Test Purpose / Notes: |  | baseline

## Env 07Oct
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 49.7 | 50.1 | 49.8 | Average | 51.2222 | Top | 802.8 |  |  | Average | 802.8
Middle | 52.5 | 53.5 | 53.1 | Minimum | 49.7 | Middle |  |  |  | Minimum | 802.8
Bottom | 50 | 50.5 | 51.8 | Maximum | 53.5 | Bottom |  |  |  | Maximum | 802.8
|  |  |  | Range | 3.8 |  |  |  |  | Range | 0
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.5123 |  |  |  |  | Uniform(%) | 0
Lamp Distance (cm): |  | outside
Fan Condition:
Window Condition:
Test Purpose / Notes: |  | baseline

## Env 08Oct
IV CURVES PARTIAL SHADING WITH PAPER 100% AND 75%
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 45.9 | 50.9 | 50 | Average | 50.9667 | Top | 642.7 | 757 | 662.7 | Average | 737.3556
Middle | 50.3 | 54.1 | 52.6 | Minimum | 45.9 | Middle | 714.7 | 858.1 | 776.2 | Minimum | 642.7
Bottom | 48.7 | 53.7 | 52.5 | Maximum | 54.1 | Bottom | 687 | 807.2 | 730.6 | Maximum | 858.1
|  |  |  | Range | 8.2 |  |  |  |  | Range | 215.4
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 2.6101 |  |  |  |  | Uniform(%) | 14.3523
Lamp Distance (cm): |  | inside variac 220V
Fan Condition: |  | off
Window Condition: |  | unshielded
Test Purpose / Notes: |  | baseline

## Env 09Oct
IV CURVES PARTIAL SHADING WITH PAPER 50%
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 49.8 | 51.3 | 50.2 | Average | 51.4444 | Top | 650.6 | 804.6 | 694.4 | Average | 774.5222
Middle | 51.2 | 54.3 | 52.5 | Minimum | 48.2 | Middle | 743.8 | 909.2 | 826.6 | Minimum | 650.6
Bottom | 48.2 | 52 | 53.5 | Maximum | 54.3 | Bottom | 708.3 | 831.9 | 801.3 | Maximum | 909.2
|  |  |  | Range | 6.1 |  |  |  |  | Range | 258.6
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.8928 |  |  |  |  | Uniform(%) | 16.579
Lamp Distance (cm): |  | inside variac 220V
Fan Condition: |  | off
Window Condition: |  | unshielded
Test Purpose / Notes: |  | baseline
IV CURVES PARTIAL SHADING WITH CARBOARD 50%
20260819-E02 – Temperature Grid (°C) | [5 empty] | 20260819-E02 – Irradiance Grid (W/m²)
Position | Left | Centre | Right | Metric |  | Position | Left | Centre | Right | Metric
Top | 48.6 | 50.5 | 48.3 | Average | 50.9 | Top | 653.3 | 787.4 | 709 | Average | 754.9778
Middle | 51.6 | 53.5 | 51.3 | Minimum | 48.3 | Middle | 731.9 | 875.3 | 802.2 | Minimum | 653.3
Bottom | 49.5 | 52.3 | 52.5 | Maximum | 53.5 | Bottom | 668.7 | 798.8 | 768.2 | Maximum | 875.3
|  |  |  | Range | 5.2 |  |  |  |  | Range | 222
ENVIRONMENTAL & TEST CONDITIONS: |  |  |  | Std | 1.8062 |  |  |  |  | Uniform(%) | 14.5231
Lamp Distance (cm): |  | inside variac 220V
Fan Condition: |  | off
Window Condition: |  | unshielded
Test Purpose / Notes: |  | BASELINE- 14H16